Maintenance permit inspections

Construction Management Services has updated their policy regarding furnace, AC, water heater & boiler (maintenance flat fee) inspections.

www.wse.engineering

officemain@cmsroch.com

507/282.8206

CMS has implemented an important update regarding maintenance permit inspections.  Beginning October 1, 2025, ALL inspections will be required to be conducted through photo submissions.  If this is currently your practice for installs, we would gladly accept them starting immediately.  This change aims to keep permitting costs low and ensure timely inspections for all maintenance permits.

For any questions or support, please do not hesitate to reach out.

Contractor access codes will be sent out in all permits, located within the permit inspection record.  If there is no code or you need to request one, please call our office.  One number is issued per organization, not per representative.  Please communicate all information within house with your appropriate parties.  CMS will also require a primary and a backup contact, each with phone number & email information, with multiple people authorized to access, i.e. main or office email.

*This process will be for all the above-mentioned maintenance items.

*Projects are subject to onsite inspections chosen randomly by CMS.

*Once photos are submitted, DO NOT request an inspection.  The photo submission replaces the inspection request.

REQUIRED PHOTOS:  (Min 3-5 photos, all to be submitted at one time)

CMS shall complete your maintenance inspection by using digital photos.  Photos shall be geotagged and of sufficient detail to be acceptable.  Please take pictures of the following areas:

FURNACES:  All sides if possible; including all joints to existing ductwork that shall be sealed, gas line connection and any new venting.

ACs:  Tamper proof caps, line set is sealed and unit is level.  If a new line set is installed or the A coil is replaced, a photo is also needed at furnace plenum.

WATER HEATERS & BOILERS:  Overall view that shows gas line hookup, T&P valve discharge, waterline hook-ups and any new venting.

PERMIT PHOTO SUBMITTAL:

Please see our website for instructions for submittal:  www.wse.engineering

Choose the CMS box

Scroll down to the map & click the appropriate star for the jurisdiction your project is in

Go to “photos upload” (the last option) & choose and click on “more info” (to the right of “photo upload tab, in blue)

Then search permit, click the blue “permit number” or “view” & go to the bottom of the page to “choose files” to upload.

Once you have submitted all photos, you may view your submission after refreshing your page or logging back into the chosen permit.

OR

See “permit photo uploads” tab and follow the steps provided.

**PLEASE NOTE:  IF INSUFFICIENT PHOTOS ARE SUBMITTED, AND A RE-INSPECTION IS REQUIRED, AN $80 REINSPECTION FEE WILL BE ISSUED AND REQUIRED TO BE PAYED BEFORE THE FINAL INSPECTION WILL TAKE PLACE