Reroof permit inspections

Construction Management Services has updated their policy regarding reroof permits & inspections.

www.wse.engineering/cms

officemain@cmsroch.com

507/282.8206

CMS has implemented an important update regarding reroof permit inspections.  As of, January 1, 2025, inspections are now conducted through photo submissions.  This change aims to keep permitting costs low and ensure timely inspections for all reroof permits.

To support this transition, CMS provides resources and guidance.  In person training sessions are available for those who would like additional assistance.  For any questions or support, please do not hesitate to reach out.

Contractor access codes are sent out in all permits, located within the permit inspection record.  If there is no code or you need to request one, please call our office.  One number is issued per organization, not per representative.  Please communicate all information within house with your appropriate parties.  CMS also requires a primary and a backup contact, each with phone number & email information, with multiple people authorized to access, i.e. main or office email.

*This process is for reroofs only.  Re-sides (and all other inspections) will be requested via portal/website or by calling the office to schedule.

*Projects are subject to onsite inspections chosen randomly by CMS.

*Once photos are submitted, DO NOT request an inspection.  The photo submission replaces the inspection request.

REQUIRED PHOTOS: (all to be submitted together at one time)

CMS shall complete your reroof inspection by using digital photos.  Photos shall be geotagged and of sufficient detail to be acceptable.  Please take pictures of the following areas:

A.)  After tear off, showing ice and water barrier in place per code and any valley flashing.  Minimum of 10 photos of sufficient quality and size.

B.)  Final photos of overall views of all sides/areas, step flashing, other flashing, chimney areas, roof vents, and roof jacks (for plumbing and electrical seals, etc).  Minimum of 10 photos of sufficient quality and size.

C.)  Also take photos of any special conditions.

(bid stage/existing roof photos are not needed)

PERMIT PHOTO SUBMITTAL:

Please see our website for instructions for submittal: wse.engineering

Choose the CMS box

Scroll down to the map & click the appropriate star for the jurisdiction your project is in.

Choose “photos upload” (the last option) & “more info” (to the right of “photo upload” tab, in blue)

Then search permit, click the blue “permit number” or “view” and scroll to the bottom of the page to “choose files” to upload file(s).

Once you have submitted all photos, you may view your submission after refreshing your page or logging back into the chosen permit.

OR

See “permit photo uploads” tab and follow the steps provided.

**PLEASE NOTE: IF INSUFFICIENT PHOTOS ARE SUBMITTED, AND A RE-INSPECTION IS REQUIRED, AN $80 REINSPECTION FEE WILL BE ISSUED AND REQUIRED TO BE PAYED BEFORE THE FINAL INSPECTION WILL TAKE PLACE